## Sheet1
Requirement # | Requirement Description | RFP Section Reference | Description -- Describe how your proposed solution meets the mandatory requirement listed. Detail if your proposed solution meets or will meet desired functionality. You may reference your technical proposal for greater detail, but should provide at least basic information on this form.
1 | Adhere to all relevant NYS Security Policies (https://its.ny.gov/ciso/policies/security) | 2.2.7.a
2 | Integrate with the NYS SSO (Single Sign On) interface (Okta) through OpenID or SAML. | 2.2.7.b
3 | The solution shall use Anti-virus software to scan all documents | 2.2.7.c
4 | Ability to conform to NYS Branding | 2.2.8.d
5 | The system shall provide a web-based user interface compatible with the current versions of: a. Microsoft Edge, b. Google Chrome, c. Mozilla Firefox, d. Safari. | 2.2.7.F
6 | The system is desired to be mobile friendly and display correctly on devices such as: a. Smartphones b. iPhones c. iPads d. Tablets | 2.3.7
7 | The following environments must be created for the system and maintained throughout the duration of the contract: Test; Production. | 2.2.7.g
8 | Ability to import all historical data from existing Excel Files | 2.2.1.f
9 | The bidder must guarantee a service uptime of at least 99.7%. | 2.14.1
10 | Scheduled system maintenance shall occur outside the hours of 6 a.m. to 6 p.m. Monday through Friday ET. | 2.19
11 | The solution shall be accessible to all users on a 24/7 basis outside of scheduled downtime, solution upgrades and scheduled maintenance. | 2.14.1
12 | The bidder shall provide redundant architectures within the primary data center, daily file back-ups; and continuous 24-hour monitoring required for hosted environments. | 2.18
13 | Bidder must adhere NYS Record Retention Policy. | Appendix A S. 10
14 | The bidder shall provide data recovery services from backups as requested by the State at no additional costs | 2.18
16 | The bidder shall have annual vulnerability assessments performed against the system by an OGS approved independent 3rd party vendor. The results shall be provided to OGS along with a documented plan to mitigate identified vulnerabilities | 2.16
18 | The solution will use NYS provided load testing and performance tuning tools where applicable. | 2.2.7.e